## Slide 1: Surface and Flow Field Measurements on the FAITH Hill Model
National Aeronautics and Space Administration
www.nasa.gov
Kurtis R. Long , James H. Bell, J.T. Heineck, Gregory G. Zilliac, and Rabindra D. Mehta
Experimental Aero-Physics Branch
NASA Ames Research Center
50th AIAA Aerospace Sciences Meeting Nashville, TN, January 9-13, 2011
FAITH: Fundamental Aero Investigates The Hill

## Slide 2: FAITH Background
Objective: To generate an experimental database with well-documented inlet and boundary conditions that will enable an assessment of our ability to predict complex flow behavior in the separated region over a model with simple geometry.
Approach: Use a variety of experimental techniques (PSP, PIV, Skin Friction, Cobra Probe, Oil Flow Vis.) to thoroughly document flow around an axisymmetric wall-mounted hill model immersed in subsonic flow.
Results and Impact: Detailed surface and flow field data capture the complexity of the separated flow. Database will facilitate basic understanding of complex separated flows and help develop/validate CFD techniques.

## Slide 3: FAITH Measurement Techniques
PIV
FISF
Cobra Probe
Oil Flow
Dye Flow Viz
Mini Tufts
PSP

## Slide 4: FAITH Model
3D, Axisymmetric, Cosine Curve
H/δ = 3; δ = 2 in. at centroid
Wind Tunnel Speed ~ 165 ft/sec
Re No based on height = 500,000

## Slide 5
Indraft Wind Tunnel
  Test Section: 48” X 32”, 10 ft long
  Speed Range: 40 - 170 f/s
  Turbulence Intensity Level: 0.1%
  Roughness strip upwind
  Oil Flow, Cobra Probe, FISF, PSP, PIV
FAITH Experimental Facilities
Flow Direction
Model in middle of test section
Roughness strip
(3” wide, ~100 grit)

## Slide 6
Summary of FAITH Techniques
Water Channel Flow Vis
Surface Oil Flow Vis
Pressure Sensitive Paint (PSP)
Fringe Imaging Skin Friction (FISF)
Cobra Probe
Particle Image Velocimetry (PIV)

## Slide 7
6 inch diameter, 2 inch height
Water Channel Speed: 1 inch/sec
Re No = 1250
FAITH Flow Visualization
  Test Section: 17” X 11”, 8 ft long
  Speed Range: 1 – 4 in/s
  UV lamps and fluorescent dye
Water Channel
Smaller Water Channel Model

## Slide 8
FAITH Flow Visualization Studies

## Slide 9
FAITH Flow Visualization Studies

## Slide 10
FAITH Flow Visualization Studies
Centerline Cut Using Laser Sheet

## Slide 11
Wind Direction
FAITH Surface Oil-Flow Visualization Studies
Line of separation
Reattachment
Foci

## Slide 12
Wind Direction
FAITH Surface Oil-Flow Visualization Studies
Closeup of downwind side

## Slide 13
Wind Direction
FAITH Surface Oil-Flow Visualization Studies
Three different dye colors

## Slide 14: Pressure Sensitive Paint (PSP) Technique
  Model Covered with Pressure Sensitive Paint
  PSP Excited with UV Light
  Excited PSP Molecules Return to Base State via Oxygen Quenching
  Higher Pressure (more oxygen) = More Quenching = Less Luminescence
Model

## Slide 15
Model illuminated from above with UV lamps
Calibration Pressure taps
Location reference marks
FAITH PSP Set-Up

## Slide 16
Cp
FAITH PSP Measurements
0.00
-0.25
-0.50
-0.75
-1.00
-1.25
-1.50
-1.75

## Slide 17
Flow
Oil Flow
PSP
Overlay of Oil Flow on top PSP
FAITH Oil Flow Visualization and PSP Data
Flow topology critical points vs pressure extrema

## Slide 18: Fringe Imaging Skin Friction (FISF)
FISF
  Nickel Plating to allow for maximum reflectivity
  Apply Oil (Drops/Lines) of Known Viscosity (multiple viscosities?)
  Run Wind Tunnel to Create Fringes (reflection off oil and model surfaces)
  Measure Fringe Direction and Spacing to get Cf Vector
Oil Film Fringes
False-colored image of a wing tip model
showing the skin friction (Cf) distribution

## Slide 19: FAITH: Oil Fringe Pattern
3 different oil viscosities

## Slide 20
FAITH: Skin Friction Distribution
Cf

## Slide 21
FAITH: Skin Friction Distribution
Cf

## Slide 22: Multi-Hole “Cobra” Probe
4-Hole Unsteady Pressure Probe
3-D Unsteady (<1 Khz) Velocity
Attached to 3-D Traversing Mechanism
>2,000 points

## Slide 23: Inlet Mean Streamwise Velocity Profiles

## Slide 24
Mean Velocity Measurements at 6 Streamwise Locations

## Slide 25: 3-D Particle Image Velocimetry (PIV)
  Non-intrusive flow field measurement using lasers, cameras and flow seeding
  Three components of velocity in a plane
  Mean velocities and turbulence measurements
Diagram of StereoPIV Concept
Plan view of HS PIV system for FAITH in 4-foot x 3-foot Tunnel

## Slide 26
3-D Particle Image Velocimetry (PIV)
Two measurements were made:
- 1.5 Hz ,
44,000 vectors/sample
ROI of 585 mm x 223 mm (23 in x 9 in)
4000 Samples
Originally reported in 2012
- 1000 Hz,
37,000 vectors/sample in
ROI of 480 mm x 200 mm (19 in x 8 in)
4790 Samples
Data not yet released

## Slide 27: 3-D Particle Image Velocimetry (PIV)
In-flow to Space Shuttle Bipod
Contour of Stream-wise velocity
M = 2.5
Mean Velocity
Streamwise Velocity (U) Contours
Vertical (V) and Streamwise (U) Velocity Vectors
Centerline plane
FAITH model
Flow Direction

## Slide 28: 3-D Particle Image Velocimetry (PIV)
In-flow to Space Shuttle Bipod
Contour of Stream-wise velocity
M = 2.5
Instantaneous Velocity (30 frames at 1 Hz)
Centerline plane
FAITH model
Flow Direction

## Slide 29: 3-D Particle Image Velocimetry (PIV)
In-flow to Space Shuttle Bipod
Contour of Stream-wise velocity
M = 2.5
Fluctuating Velocity: Streamwise Component (u’)
Centerline plane
FAITH model
Flow Direction

## Slide 30: 3-D Particle Image Velocimetry (PIV)
In-flow to Space Shuttle Bipod
Contour of Stream-wise velocity
M = 2.5
Fluctuating Velocity: Vertical Component (v’)
Centerline plane
FAITH model
Flow Direction

## Slide 31: 3-D Particle Image Velocimetry (PIV)
In-flow to Space Shuttle Bipod
Contour of Stream-wise velocity
M = 2.5
Fluctuating Velocity: Spanwise Component (w’)
Centerline plane
FAITH model
Flow Direction

## Slide 32: 3-D Particle Image Velocimetry (PIV)
In-flow to Space Shuttle Bipod
Contour of Stream-wise velocity
M = 2.5
Turbulent Kinetic Energy
Centerline plane
FAITH model
Flow Direction

## Slide 33: 3-D Particle Image Velocimetry (PIV)
In-flow to Space Shuttle Bipod
Contour of Stream-wise velocity
M = 2.5
Shear Stress: u’v’ Component
Centerline plane
FAITH model
Flow Direction

## Slide 34: 3-D Particle Image Velocimetry (PIV)
In-flow to Space Shuttle Bipod
Contour of Stream-wise velocity
M = 2.5
Shear Stress: u’w’ Component
Centerline plane
FAITH model
Flow Direction

## Slide 35: 3-D Particle Image Velocimetry (PIV)
In-flow to Space Shuttle Bipod
Contour of Stream-wise velocity
M = 2.5
Shear Stress: v’w’ Component
Centerline plane
FAITH model
Flow Direction

## Slide 36
HS 3-D Particle Image Velocimetry (PIV) - 1kHz
Centerline plane – Average Vectors, contour of Uave
FAITH model
Flow Direction

## Slide 37
HS 3-D Particle Image Velocimetry (PIV) - 1kHz
Centerline plane – Contour of Urms
FAITH model
Flow Direction

## Slide 38
HS 3-D Particle Image Velocimetry (PIV) - 1kHz
Centerline plane – Contour of Vrms
FAITH model
Flow Direction

## Slide 39
HS 3-D Particle Image Velocimetry (PIV) - 1kHz
Centerline plane – Contour of Wrms
FAITH model
Flow Direction

## Slide 40
HS 3-D Particle Image Velocimetry (PIV) - 1kHz
Centerline plane – Contour of Re Stress, U’V’
FAITH model
Flow Direction

## Slide 41
HS 3-D Particle Image Velocimetry (PIV) - 1kHz
Centerline plane – Contour of Re Stress, U’W’
FAITH model
Flow Direction

## Slide 42
HS 3-D Particle Image Velocimetry (PIV) - 1kHz
Centerline plane – Contour of Re Stress, V’W’
FAITH model
Flow Direction

## Slide 43
HS 3-D Particle Image Velocimetry (PIV) - 1kHz
Centerline plane – Contour of Average KE
FAITH model
Flow Direction

## Slide 44
HS 3-D Particle Image Velocimetry (PIV) - 1kHz
Centerline plane – Contour of Turbulent KE
FAITH model
Flow Direction

## Slide 45
Summary
Generated comprehensive fluid mechanic dataset for a separated flow field about a simple wall-mounted axisymmetric hill in turbulent subsonic flow
    Water Channel Flow Vis
    Surface Oil Flow Vis
    Pressure Sensitive Paint (PSP)
    Fringe Imaging Skin Friction (FISF)
    Cobra Probe
    Particle Image Velocimetry (PIV)
Data being uploaded to http://nspires.nasaprs.com/external/solicitations/summary.do?method=init&solId=%7b94454604-A9AA-31A5-28B0-37B8332C25DC%7d&path=open
(Easier: contact me at kurtis.r.long@nasa.gov for emailed link to site)
Full dataset available soon
Notes: NASA Presentation Sign-Off Page

## Slide 46
Notes: NASA Presentation Sign-Off Page

## Slide 47
Mean Velocity Measurements
9.2 Inches Upstream of Centroid (X/H = -1.53)

## Slide 48
Mean Velocity Measurements
6 Inches Downstream of Centroid (X/H = 1.0)

## Slide 49
FAITH: Percent “Good” Data at X = 6 In

## Slide 50
Mean Velocity Measurements
16 Inches Downstream of Centroid (X/H = 2.7)

## Slide 51
Mean Velocity Measurements
22.2 Inches Downstream of Centroid (X/H = 3.69)

## Slide 52
Mean Velocity Measurements
26.8 Inches Downstream of Centroid (X/H = 4.46)

## Slide 53
Mean Velocity Measurements
36.5 Inches Downstream of Centroid (X/H = 6.08)

## Slide 54: FAITH: Cobra Probe Measurement Grid

## Slide 55
Iso-surface of Vorticity Magnitude
Ω = 0.2

## Slide 56
Flow
Top View
Cp
FAITH PSP Measurements

## Slide 57
Two saddle points and Node of Separation (merged)
Node of Attachment
Two Foci
Node of Attachment
FAITH Surface Flow Topology: Murray Tobak
“Topology of Three-Dimensional Separated Flows,” David Peake & Murray Tobak, Ann. Rev. Fluid Mech., Vol. 14: 61-85, 1982