## Sheet3
Current Monthly* | 47
New Meters | 6
Switch from Annual | 10
Total Monthly WLI | 63
Current Annual | 32
Switch to Monthly | 10
Total Annual WLI | 22
*Includes sewage meters

## Annual
LOCATION
GENERAL TELEPHONE, M6-0088, IN PIT, READING X 100
M6-0336 3" NEPTUNE DUAL METER, DIRECT READ GALLONS
KDC, M6-0547, 2" NEPTUNE, DIAL READING X 100
M6-0595D, 1" NEPTUNE, DIRECT READ GALLONS | No longer in service
SERVICE STATION, M6-0596, (1 ZERO)
M6-0698, 4" NEPTUNE DUAL METER, DIRECT READ GALLONS
M6-0744 (NORTH FEED), 3" NEPTUNE DUAL METER, DIRECT READ GALLONS
M6-0794, SW OUTSIDE, 4" NEPTUNE DUAL METER, DIRECT READ GALLONS
M6-0895 (NORTH FEED), 2" NEPTUNE, DIRECT READ GALLONS
M6-0895 (WEST FEED), 1" NEPTUNE, DIRECT READ GALLONS
M7-0355 EAST METER, 8" NEPTUNE HPPP III, DIRECT READ GALLONS Note: Meter was replaced 2/27/20 | Switch to Monthly
M7-0355 EAST METER, 2" NEPTUNE HPPP III BYPASS, DIRECT READ GALLONS New meter 2/27/20 | Switch to Monthly
M7-0409/459, (2 ZEROS)
M7-0505, WEST FEED, 4" NEPTUNE DUAL METER, DIRECT READ GALLONS | Switch to Monthly
M7-0505, SE O/S INSIDE FENCE OF LETF, 3" NEPTUNE DUAL METER, DIRECT READ GALLONS | Switch to Monthly
M7-0555, 1-1/2" NEPTUNE, DIRECT READ GALLONS
M7-1059, 2" HERSEY, READING X 100
K7-0569, NORTH FEED, 3" NEPTUNE DUAL METER, DIRECT READ GALLONS
OSB I, K6-1096, INSIDE FIRE PUMP RM, READING X 100
TRAINING FACILITY, K6-0791, 2" HERSEY, READING X 100
PLUMBING SHOP, K6-0996A, 3/4" NEPTUNE, DIRECT READ GALLONS
LES SHOP, K6-1247, 3" NEPTUNE DUAL METER, DIRECT READ GALLONS
CRCA, K6-1696, 3" HERSEY, POTABLE FEED TO BLDG, EAST SIDE OF BLDG, READING X 100 | Read monthly
CRCA, DEMIN AREA, K6-1697A, 2" SENSUS, FAR EAST METER AT TANK AREA, READING X 100 | Switch to Monthly
CRCA, K6-1748A, NORTHEAST CORNER, 2" HERSEY, READING X 100 | Switch to Monthly
K6-1847, 3" NEPTUNE DUAL METER, DIRECT READ GALLONS | Switch to Monthly
K6-1995, 2" NEPTUNE, DIRECT READ GALLONS | Switch to Monthly
K7-0314, 4" NEPTUNE DUAL METER, DIRECT READ GALLONS
K7-0415, 2" SENSUS DIAL METER, READING X 100
K7-0416, 2" NEPTUNE, DIRECT READ GALLONS
K7-0468, 2" NEPTUNE, DIRECT READ GALLONS
ORDNANCE OFFICE, K7-0559, 2" BADGER, READING X 100
PAD B OPS, J7-0689, 3" SENSUS, READING X 100 | Switch to Monthly
J7-1388, NORTH SIDE, DIRECT READ | Switch to Monthly

## Monthly
Gate 2 (main meter)
Gate 2 (bypass meter)
Meter readings selected KSC metered facilities.
VIC East (Shuttle)
VIC West (Main)
BFF (formerly SRB-ARF)
Ed Fac/Mtr #2
Saturn 5 Complex No
Saturn 5 Complex So
Observation Tower
Office J6-2465 (formerly "RLV Office"
RLV Equipment Shelter, K6-0015
RLV Hangar, J6-2466
Exploration Park
OSB II
PCC, K6-1094
SLF Midfield
SLF J6-2313 LACB
PAD A Operatons Bldg, J8-2109
PAD A Hangar, J8-2007
Pad A, J8-1708
PAD B Regional Meter
SSPF Science Annex, M7-0411
OSB I, K6-1096
Utility Shop, K6-1246
Utility Annex, K6-0947
Logistics Facility, K6-1547
Central Campus HQ, M7-0301
SSPF, M7-0306
EDL, M7-0409
KARS Park I (Not inside KSC)
SpaceX HangerX Roberts Rd
SpaceX HangarX 2” Meter, North End of Parking Lot
CRCA, K6-1696
Sewage flow
STP 1
STP 4
Visitor Information Center, M3-328
Saturn V Facility
Observation Tower
Space X Lift Station
Utility Annex Cooling Tower.
W-5 Pump Station meter, K6-0896
Cooling Tower Makeup meter, K6-0947B
Water Softener meter to tower, K6-0947D
IACP/O&C Cooling Towers.
IACP Cooling Tower Makeup meter
O&C Cooling Tower Makeup meter
Softener Feed to Towers
Air Compressor Coolant water feed
Total Cooling Tower Makeup