## EGS Operations Procedures
Job Plan | Description | Location | Shop
ML_PAD_CON | ML Power Connect Pad B | Pad B | ELLV
ML_PAD_DIS | ML Power Disconnect - Pad B | Pad B | ELLV
WWMLPADDS | W&W ML DISCONNECTS AT Pad B | Pad B | W&W
WWMLPADCN | W&W ML CONNECTS AT PAD B | Pad B | W&W
WWPB001N | Verify Holding Ponds | Pad B | W&W
MLACPADSC | Instructions for ML Disconnect - Pad B | Pad B | HVAC
MLACPADCON | Instructions for ML Connect - Pad B | Pad B | HVAC
MLCAPADCON | Instructions for ML Connect - Pad B | Pad B | HVAC
MLCAPADDIS | Instructions for ML Disconnect - Pad B | Pad B | HVAC
MLDPRESPAD | Instructions for ML Depressurization - PAD B | Pad B | HVAC
MLPRESSPAD | Instructions for ML Pressurization - PAD B | Pad B | HVAC
PADBCOPRES | Instructions for PTCR/ECS/ECLSS Launch Close Out Pressurization - PAD B | Pad B | HVAC
PADBDEPRES | Instructions for PTCR/ECS/ESLSS Depressurization - PAD B | Pad B | HVAC
PADBPRESS | Instructions for PTCR/ECS/ECLSS Pressurization - PAD B | Pad B | HVAC
PADFCDPRES | Instructions for Flame Cell Depressurization - PAD B | Pad B | HVAC
PADFCPRESS | Instructions for Flame Cell Pressurization - PAD B | Pad B | HVAC
PADMRDPRES | Instructions for Elevator Machine Room Depressurization - PAD B | Pad B | HVAC
PADMRPRESS | Instructions for Elevator Machine Room Pressurization - PAD B | Pad B | HVAC
MLCAPADCON | Instructions for ML Connect - PAD B | Pad B | COMPAIR
MLCAPADDIS | Instructions for ML Disconnect - PAD B | Pad B | COMPAIR
ML_VAB_DSC | ML Power Disconnect VAB HB3 | VAB HB3 | ELLV
ML_VAB_CON | ML Power Connect - VAB | VAB HB3 | ELLV
WWMLVABCN | W&W ML CONNECTS AT VAB | VAB HB3 | W&W
WWMLVABDS | W&W ML DISCONNECTS AT VAB | VAB HB3 | W&W
MLACVABCON | Instructions for ML Connect - VAB | VAB HB3 | HVAC
MLACVABDIS | Instructions for ML Disconnect - VAB | VAB HB3 | HVAC
MLCAVABDIS | Instructions for ML Disconnect - VAB HB3 | VAB HB3 | HVAC
MLCAVABCON | Instructions for ML Connect - VAB HB3 | VAB HB3 | HVAC
MLCAVABCON | Instructions for ML Connect - VAB | VAB HB3 | COMPAIR
MLCAVABDIS | Instructions for ML Disconnect - VAB HB3 | VAB HB3 | COMPAIR
GENCORESPT | Portable Light Banks Wharf | Wharf | GEN
LVCORESPT | LV Preps Wharf | Wharf | ELLV
ML_PLHPU01 | Install HPU FSS Masts | ML | PLUMB
ML_PLHPU02 | Remove HPU FSS Masts | ML | PLUMB
ML_PSY | ML Move | ML | PS
MLCAPSCON | Instructions for ML Connect - ML Park Site (East Refurb) | ML | COMPAIR
MLCAPSDISC | Instructions for ML Disconnect - ML Park Site (East Refurb) | ML | COMPAIR
ML_GEN_SPT | ML Generator Support for Overnight Stay | Various | GEN